# Cascaded 3D U-Net — Multi-Organ Segmentation (Biomedical Image Segmentation)

Two stages

- A FCN Model to identify the organs of interest.

- FCN model is trained to have a detailed segmentation of the organs

# Outline

- Coarse-to-Fine Cascaded U-Net

- Loss Function

- Training & Validation & Testing

- Comparison with State-of-the-art Approaches

# Coarse-to-Fine Cascaded U-Net

Multi-stage cascaded training scheme

C1 Candidate Region (Red) input to Stage 1 3D U-Net (Left), C2 Candidate Region (Red) input to Stage 2 3D U-Net (Right)

- The first-stage FCN sees around 40% of the voxels as C1 Candidate Region using only a simple mask of the body created by thresholding the image.

- C2 Candidate Region is output from the first-stage FCN.

- In second-stage FCN, the amount of the image’s voxels is reduced by around 10%.

- This step narrows down and simplifies the search space for the FCN.

3D U-Net

- In this paper, the 2-stage FCNs used are 3D U-Net.

- (For details about 3D U-Net, Please feel free to read my review about it.)

- At the end of the network, the last layer contains a 1×1×1 convolution that reduces the number of output channels to the number of class labels (K=8, 7 organs plus 1 background) and a size of 44×44×28 of each channel.

# 2. Loss Function

- Ni are the number of voxels within one class in Ln.

- NC is the number of voxels within candidate region C1 or C2.

- λi is the value based on Ni and NC, i.e. based on the occurrence frequency of the class. And summing all λi equals to 1.

- Simply speaking, the loss is the weighted voxel-wise cross-entropy loss.

# 3. Training & Validation & Testing

## 3.1 Training & Validation

- Dataset: 331 contrast-enhanced abdominal clinical CT images.

- Each CT volume consists of 460 — 1177 slices of 512×512 pixels. The voxel dimensions are [0.59–0.98, 0.59–0.98, 0.5–1.0] mm.

- A random split of 281/50 patients is used for training and validating the network.

Various examples of plausible random deformation

- Data Augmentation: Smooth B-spline deformations, random rotations.

- 200,000 iterations in the first stage and 115,000 in the second.

Dics Similiary Score on Validation Set

- With 2 stages, dice score is improved from 71.7% to 79.2%.

- On average, a 7.5% improvement in Dice scores per organ is achieved.

Example of the validation set

- The segmentation is quite good as shown above.

## 3.2 Testing

- Dataset: It originates from a different hospital, scanner, and research study with gastric cancer patients. 150 abdominal CT scans were acquired.

- Each CT volume consists of 263 — 1061 slices of 512×512 pixels. Voxel dimensions are [0.55–0.82, 0.55–0.82, 0.4–0.80] mm.

- The pancreas, liver, and spleen were semi-automatically delineated by three trained researchers and confirmed by a clinician.

Dics Similiary Score on Test Set

- The dice similarity score is improved at stage 2.

- With overlapping, the score is even higher.

Example of the test set